## 24
Initials | Computer Used | Site | Date | Time Arrival | Weather | Staff Gage Height (m) | Staff Gage Time | Exo- Prodo/ Proplus Logging Start | End | Clean Exo | Clean S:can | Download S:can | Download Exo | Download ATM hobo | Download Water hobo | Download Rain hobo | Water Sampling Time | TN/TP (unfiltered) | Dissolved (PES) | DOC (GF/F) | Isotopes | Notes
JD SS | Hugo | Hungerford | 2024-01-04 | 10:20 | cold, overcast, fresh snow | 0.58 | 10:44 | 10:36 | 10:46 | no | no | yes | no | no | no | no | 10:45 | yes | yes | yes | no
JD SS | Hugo | Potash | 2024-01-04 | 12:40 | sunny ~30 F | 0.56 | 1:14 | 1:20 | 1:35 | no | no | no | no | no | no | no | 13:30 | yes | yes | yes | no
JD SS | Hugo | Wade | 2024-01-05 | 11:40 | cold, cloudy, snow flurries | 0.5 | 12:06 | 12:45 | 1:01 | no | no | yes | no | no | no | no | 13:00 | yes | yes | yes | no | Logger box was frozen shut, had to use small hatchet to hit it open, water must have gotten in when it rained and refroze.
JD SS | Hugo | Potash | 2024-01-26 | 9:00 | Raining, high flow | 0.75 | 9:15 | 9:30 | 9:45 | no | no | yes | no | no | no | no | 9:45 | yes | yes | yes | no
JD SS | Hugo | Hungerford | 2024-02-02 | 9:23 | cloudy, foggy day | 0.58 | 9:32 | 9:30 | 9:45 | no | no | yes | no | no | no | no | 9:45 | yes | yes | yes | yes | Checked on Isco, still has battery, isotope samples taken.
SB | NA | Hungerford | 2024-02-08 | 13:00 |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 13:00 | yes? | yes? | yes? | yes | Pre-ISCO setup; no sample sheet to my knowledge (MED)
SB | NA | Wade | 2024-02-08 | 10:45 |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 10:45 | yes? | yes? | yes? | yes | Pre-ISCO setup; no sample sheet to my knowledge (MED)
MD | NA | Potash | 2024-02-08 | 12:30 |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 12:30 | yes? | yes? | yes? | yes | Pre-ISCO setup; no sample sheet to my knowledge (MED)
SB | Jemima | Hungerford | 2024-02-14 | 7:30 | Cold, 14 F, windy | 0.63 | 8:00 | NA | NA | no | no | yes | no | no | no | no | 8:00 | yes | yes | yes | yes
SS | NA | Potash | 2024-02-15 | 12:00 |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 12:00 | yes? | yes? | yes? | yes | ISCO related maybe; no sample sheet to my knowledge (MED), just have isotope sample to go on
MD + SS | Hugo | Wade | 2024-01-22 | 13:00 | 20 F, 0 night before, ~1.5" of snow, | 0.5 | NA | no | no | no | no | Maybe? | no | no | no | no | 13:15 | yes | yes | yes | NA | Under culvert completely frozen
MD + SS | Hugo | Hungerford | 2024-01-22 | 14:00 | Lots of ice | 0.7 | NA | no | no | no | no | Maybe? | no | no | no | no | 14:45 | yes | yes | yes | NA | Also grabbed samples for Monireh from microsensors
JD SS | Hugo | Hungerford | 2024-02-26 | 14:00 | Sunny ~40 F | 0.5 | 14:14 | 14:24 | 14:45 | no | no | yes | no | no | no | no | 14:45 | yes | yes | yes | yes | Water clear and low, programmed isco to sample at 15:00
SS | Hugo | Potash | 2024-02-28 | 13:15 | Overcast, windy | 0.54 | 13:15 | NA | NA | NA | NA | NA | NA | NA | NA | NA | 13:15 | yes? | yes? | yes? | NA | From ISCO Sheet
SS | Hugo | Hungerford | 2024-02-28 | 10:45 | overcast, slight wind | 0.58 | 10:45 | NA | NA | NA | NA | NA | NA | NA | NA | NA | 10:45 | yes? | yes? | yes? | NA | From ISCO Sheet
SS | Hugo | Potash | 2024-03-14 | 10:25 | Sunny, warm | 0.57 | 10:25 | NA | NA | NA | NA | NA | NA | NA | NA | NA | 10:25 | yes | yes | yes | yes | From ISCO Sheet
SS | Hugo | Hungerford | 2024-03-14 | 14:45 | Clear, sunny | 0.7 | 14:45 | NA | NA | NA | NA | NA | NA | NA | NA | NA | 11:25 | yes | yes | yes | yes | From ISCO Sheet
MD | NA | Potash | 2024-03-16 | 11:00 | Sunny+ Low 50's | 0.6 | 11:00 | NA | NA | NA | NA | NA | NA | NA | NA | NA | 11:00 | yes | yes | yes | yes | From ISCO Sheet
MD | NA | Potash | 2024-03-18 | 12:00 | cloudy, flurries, low 40's | 0.57 | 11:45 | NA | NA | NA | NA | NA | NA | NA | NA | NA | 12:00 | yes | yes | yes | yes | From ISCO Sheet
MD | NA | Wade | 2024-03-16 | 17:00 | Partly sunny, new snow on ridgeline. | 0.49 | 17:00 | NA | NA | NA | NA | NA | NA | NA | NA | NA | 13:00 | yes | yes | yes | yes | From ISCO Sheet
MD | NA | Wade | 2024-03-18 | 15:30 | snowing, ~35 degrees | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 14:00 | yes | yes | yes | yes | From ISCO Sheet
MD | NA | Hungerford | 2024-03-16 | 15:00 | sunny with some clouds, 50's | 0.75 | 15:00 | NA | NA | NA | NA | NA | NA | NA | NA | NA | 15:00 | yes | yes | yes | yes | From ISCO Sheet, water is very fast + turbid
MD | NA | Hungerford | 2024-03-18 | 13:45 | Mid 30's, snowy, | 0.65 | 13:45 | NA | NA | NA | NA | NA | NA | NA | NA | NA | 16:00 | yes | yes | yes | yes | From ISCO Sheet
SS | NA | Wade | 2024-03-14 | 13:00 | NA | 0.45 | 13:00 | NA | NA | NA | NA | NA | NA | NA | NA | NA | 17:00 | yes | yes | yes | yes | From ISCO Sheet
SS | NA | Potash | 2024-04-11 | 11:00 |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 11:00 | yes? | yes? | yes? | yes | ISCO related maybe; no sample sheet to my knowledge (MED), just have isotope sample to go on
NA | NA | Wade | 2024-04-12 | 12:45 |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 12:45 | yes? | yes? | yes? | yes | ISCO related maybe; no sample sheet to my knowledge (MED), just have isotope sample to go on
NA | NA | unmarked | 2024-04-15 | 14:45 |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 14:45 | yes? | yes? | yes? | yes | ISCO related maybe; no sample sheet to my knowledge (MED), just have isotope sample to go on
SB SS | NA | Potash | 2024-04-29 | 12:15 |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 12:15 | yes? | yes? | yes? | yes | Don't have site visit sheed yet (MED)
SB SS | NA | Hungerford | 2024-05-02 | 13:30 |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 13:30 | yes? | yes? | yes? | yes | Don't have site visit sheed yet (MED)
SS | NA | Potash | 2024-05-20 | 12:30 |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 13:30 | yes? | yes? | yes? | yes | Don't have site visit sheed yet (MED)
NA | NA | Wade | 2024-05-21 | 16:30 |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 13:30 | yes? | yes? | yes? | yes | Don't have site visit sheed yet (MED)

## 23
Initials | Computer Used | Site | Date | Time Arrival | Weather | Staff Gage Height (m) | Staff Gage Time | Exo- Prodo/ Proplus Logging Start | End | Clean Exo | Clean S:can | Download S:can | Download Exo | Download ATM hobo | Download Water hobo | Download Rain hobo | Water Sampling Time | TN/TP (unfiltered) | Dissolved (PES) | DOC (GF/F) | Notes
SB SS | Jemima | Potash | 2023-05-15 | 12:15 | Cool Overcast | N/A | N/A | 13:00 | N/A | Yes | yes | Yes | Yes | No | No | No | 13:15 | Yes | Yes | Yes | PH is ~.4 high
SB | Jemima | Wade | 2023-06-08 | 11:30 | Overcast, Rain | 0.47 | 12:30 | N/A | N/A | Yes | yes | Yes | Yes | Yes | Yes | Yes | 12:30 | Yes | Yes | Yes | Water very low despite rain
SB JD | Jemima | Potash | 2023-06-07 | 11:00 | Overcast | N/A | N/A | 12:10 | N/A | Yes | yes | Yes | Yes | No | No | No | 12:15 | Yes | Yes | Yes
SB | Jemima | Hungerford | 2023-06-08 | 14:30 | Overcast Showers | 0.41 | 15:15 | 15:00 | 15:15 | Yes | yes | Yes | Yes | Yes | Yes | No | 15:15 | Yes | Yes | Yes | Water low, S-can was persistent high turbidity readings
SB | Jemima | Hungerford | 2023-02-22 | 13:00 | Overcast, cold | 0.6 | 13:15 | N/A | N/A | No | No | yes | No | No | no | no | 13:15 | N/A | N/A | N/A | Don't know which water samples were taken.
SB | Jemima | Wade | 2023-02-22 | 11:15 | Sunny, Cold | 0.42 | 11:45 | N/A | N/A | No | No | Yes | No | No | no | no | 11:45 | N/A | N/A | N/A | Don't know which water samples were taken. Almost all ice gone, new ice forming under culvert. Met a woman named Denice, lives on hazeus knotch, blue house with horse stables, has spring maybe take GW sample?
SB | Jemima | Hungerford | 2023-03-10 | 14:30 | Sunny ~30 F | N/A | N/A | N/A | 15:03 | No | No | Yes | No | No | No | No | 15:00 | N/A | N/A | N/A | Don't know which water samples were taken. Exo was in EDT not EST
SB MT | N/A (Jemima?) | Wade | 2023-03-10 | 10:40 | Sunny ~25 F | N/A | N/A | 11:00 | N/A | No | No | Yes | No | No | No | No | 11:15 | N/A | N/A | N/A | Don't know which water samples were taken.
SB SS JD | Jemima | Potash | 2023-08-01 | 11:00 | Sunny ~75 F | 0.46 | 13:00 | 12:20 | N/A | Yes | yes | yes | yes | yes | yes | yes | 12:30 | yes | yes | yes
SB SS | Jemima | Wade | 2023-10-13 | 11:15 | Overcast, cool | 0.38 | 12:15 | 12:15 | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 12:15 | yes | yes | yes | Leaves 60% down, lots in the stream
SB SS | Jemima | Hungerford | 2023-10-13 | 14:00 | cool, overcast | 0.5 | 15:00 | 15:00 | N/A | yes | yes | yes | yes | yes | yes | no | 15:00 | yes | yes | yes | Reset memory on both hobos, and cleared sediment from water hobo
SB SS | Jemima | Hungerford | 2023-09-28 | 11:30 | Sunny, dry | 0.43 | N/A | 12:15 | N/A | yes | yes | yes | yes | yes | yes | no | 12:30 | yes | yes | yes | Time on bottles says 12:15, is actually 12:30
SB | Jemima | Hungerford | 2023-09-14 | 10:30 | N/A | 0.67 | 12:15 | 12:08 | 12:16 | yes | yes | yes | yes | yes | yes | no | 12:15 | yes | yes | yes | Paper is like half ruined: some rust colored deposits around path inserts on s:can, tried to scrape most out. Took 3 PES filters to get 50 mL
SB | Jemima | Wade | 2023-09-25 | 15:30 | N/A | 0.44 | 15:45 | 15:35 | N/A | yes | yes | yes | yes | yes | yes | yes | 16:00 | yes | yes | yes
SB SS | Jemima | Potash | 2023-06-23 | 11:30 | Sunny, warm | N/A | N/A | 12:15 | N/A | yes | yes | yes | yes | no | no | no | N/A | N/A | N/A | N/A
SB SS | Jemima | Hungerford | 2023-07-28 | 10:45 | Sunny, hot | 0.74 | 11:30 | 11:30 | N/A | yes | yes | yes | yes | yes | yes | no | 14:45 | yes | yes | yes | Housing was on side, exo was out of water
SB SS | Jemima | Potash | 2023-07-12 | 10:30 | Sunny, Warm, Humid | N/A | N/A | 11:15 | N/A | yes | yes | yes | yes | yes | yes | no | 12:30 | yes | yes | yes
SB | Jemima | Wade | 2023-06-27 | 13:00 | Overcast | 0.47 | 13:45 | 13:30 | N/A | yes | yes | yes | yes | yes | yes | yes | 14:00 | yes | yes | yes | Lots of gnats
SB | Natalie | Hungerford | 2023-04-26 | 14:30 | N/A | N/A | N/A | N/A | N/A | no | no | yes | no | no | no | no | N/A | N/A | N/A | N/A | Need to deploy new rain gauge
SB SS | Jemima | Hungerford | 2023-06-23 | 14:45 | Sunny, Warm | 0.42 | 15:15 | N/A | N/A | yes | yes | yes | yes | yes | yes | no | 15:30 | yes | yes | yes
SB SS | Jemima | Potash | 2023-10-05 | 13:30 | sunny, warm, dry | 0.42 | 14:30 | 14:05 | 14:20 | yes | yes | yes | yes | yes | yes | yes | 14:15 | yes | yes | yes | Rain gage was upside down on the ground, remounted but needs better/new plywood mounting surface, lots of discoloration on S:can
SS JD | Hugo | Potash | 2023-08-24 | 11:08 | Sunny, Hot, humid | 0.46 | 12:44 | 12:16 | 12:31 | yes | yes | yes | yes | yes | yes | yes | 12:20 | yes | yes | yes
SB SS | Jemima | Hungerford | 2023-10-25 | N/A | N/A | 0.68 | 14:30 | N/A | N/A | yes | yes | yes | yes | yes | yes | no | 14:45 | yes | yes | yes | Time not written, assuming ~14:00
SB SS | Jemima | Wade | 2023-10-25 | N/A | N/A | 0.48 | N/A | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 12:45 | yes | yes | yes | Times not put in for all but water sample, assume ~12:00, or maybe even more so ~11
JD SS MD MD | Hugo | Hungerford | 2023-11-08 | 13:15 | Partly suny, ~35 F | 0.56 | 13:30 | 14:34 | 14:44 | yes | yes | yes | yes | yes | yes | no | 14:45 | yes | yes | yes | No leaves, water slightly turbid, handheld logging in EDT, everything else in EST
SB SS | Jemima | Hungerford | 2023-11-20 | N/A | N/A | 0.57 | 12:00 | N/A | N/A | yes | yes | yes | yes | yes | yes | no | 12:00 | yes | yes | yes | Put metal grates on the ends of sensor housings. Sensors look good for winter.
SS JD | Hugo | Potash | 2023-11-17 | 11:07 | Partly cloudy, windy, ~55 F | 0.48 | 12:00 | 13:01 | 13:15 | yes | yes | yes | yes | no | no | no | 1:15 | yes | yes | yes | Hobos weren't connecting to laptop, had issues with all, cable might b damaged somehow. S:can wiper acting strange, took few attempts to get to work, exo took a long time to download. Staff gage got knocked down into the stream bed, was resecured to rock, water hobo got knocked over and covered in mud as well.
SS SB | N/A | Hungerford | 2023-12-20 | 11:00 | N/A | 0.75 | 12:00 | N/A | N/A | no | yes | yes | no | no | no | no | N/A | N/A | N/A | N/A | Stream sensors completely bured in sediment, cleaned and downloaded S-can, Hobo frozen, didn't download. Replacec wiper out of S-can due to damage on old one.
SS SB | N/A | Wade | 2023-12-19 | N/A | N/A | 0.68 | 12:00 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Cleaned sediment out of stream sensors
SS MD | Hugo | Wade | 2023-12-06 | 13:30 | N/A | 0.42 | N/A | 13:45 | 14:00 | N/A | N/A | n/a | N/A | N/A | N/A | N/A | 1:55 | yes | yes | yes | ther may be S;Can data from this day, but wasn't said on field sheet, check sample log.
SB | Jemima | Wade | 2023-11-19 | 14:00 | Overcast-cold drizzle | 0.4 | 15:00 | N/A | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 15:00 | yes | yes | yes | Battery slowing as low
SS MD | N/A | Wade | 2023-12-14 | 14:45 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 14:45 | yes? | yes? | yes? | Have isotope sample (MED)

## 22
Initials | Computer Used | Site | Date | Time Arrival (EST) | Weather | Staff Gage Height (m) | Staff Gage Time (EST) | Exo- Prodo/ Proplus Logging Start | End | Clean EXO | Clean S:Can | Download S:can | Download Exo | Download ATM hobo | Download Water hobo | Download Rain hobo | Water Sampling Time | TN/TP (unfiltered) | Dissolved (PES) | DOC (GF/F) | Flow Tracker Time | Discharge (m3/s) | Notes
SB MT | Jemima | Hungerford | 2022-06-07 | 10:00 | Partly Sunny, Breezy, 75 degree F | 0.5 | 12:00 | N/A | N/A | Yes | Yes | yes | yes | yes | yes | yes | 14:30 | yes | yes | yes | 10:30 | 0.2859
SB MT | Jemima, Hugo | Hungerford | 2022-05-11 | 13:20 | Sunny 75 F | 0.5 | 13:40 | N/A | N/A | Yes | Yes | yes | yes | yes | yes | yes | 15:00 | yes | yes | yes | N/A | N/A | Replaced Precip hobo bucket, Need to put new S:Can this one corroding- needs service
SB MT | Jemima, Hugo | Wade | 2022-05-11 | 10:30 | Sunny 70 F | 0.44 | 10:54 | 10:30 | 11:00 | Yes | Yes | yes | yes | yes | yes | yes | 12:06 | yes | yes | yes | N/A | N/A | EXO wiper died, swapped wiper w calibration EXO sensor and seems to be working now. Calibrated EXO depth (previous deployment depth was not calibrated)
MT | Hugo | Wade | 2022-04-26 | 12:00 | Cloudy, cool, rain sprinkles | 0.58 | 12:15 | N/A | N/A | No | No | yes | No | Yes | No | Yes | 12:30 | yes | yes | yes | N/A | N/A | Rain Hobo at 70%
MT | Hugo | Hungerford | 2022-04-26 | 14:28 | overcast, cool | 0.65 | 14:50 | N/A | N/A | no | no | Yes | no | yes | no | no | 14:50 | yes | yes | yes | N/A | N/A | Rain Hobo Died- changed battery but still dead
SB | Jemima | Hungerford | 2022-09-28 | N/A | N/A | 0.52 | N/A | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 13:00 | yes | yes | yes | N/A | N/A | Filled out on an Isco sheet
SB | Jemima | Hungerford | 2022-10-12 | 14:30 | overcast, warm | 0.45 | 15:00 | 15:40 | 15:45 | yes | yes | yes | yes | yes | yes | yes | 15:45 | yes | yes | yes | N/A | N/A | Swapped pH probe on EXO ~.3 pH units high, new pH ODO agree with sonde. Water v clear lots of rain, hobo needs new batt of leaves, leaves 50% down
SB | N/A | Wade | 2022-12-16 | 14:30 | Snowing, overcast | N/A | N/A | N/A | N/A | No | No | No | No | No | No | No | N/A | N/A | N/A | N/A | N/A | N/A | Swapped batteries and charge controller also put solar panels in winter angle (near verticle)
SB | Jemima | Wade | 2022-10-12 | 11:30 | Sunny, Warm | 0.4 | 12:30 | 12:25 | 12:28 | yes | Yes | yes | yes | yes | yes | yes | 12:30 | yes | yes | yes | N/A | N/A | Leaves 75% down, lots of leaves in stream, odo and pH both are good, <10% from sonde
SB | Jemima | Wade | 2022-09-13 | 15:45 | Overcast, starting to thunder | 0.34 | 16:15 | 16:30 | N/A | yes | yes | yes | no | yes | yes | yes | 16:30 | yes | yes | yes | N/A | N/A | No flow tracker due to thunder
SB | Jemima | Hungerford | 2022-08-17 | 12:00 | Sunny, overcast, warm | 0.45 | 12:45 | N/A | N/A | Yes | Yes | yes | yes | yes | yes | yes | 13:45 | yes | yes | yes | N/A | N/A | Water was pretty turbid, probably was rain in last 24 h, logged w exo, took 8 PES filters to get ~40 mL of sample
SB | Jemima | Hungerford | 2022-09-13 | 12:30 | Overcast, humid | 0.38 | 14:30 | 14:28 | N/A | yes | yes | yes | no | yes | yes | yes | 14:30 | yes | yes | yes | N/A | N/A | Cleaned out mouse dirt from gauge house & swapped out both batteries also adjusted solar pannel to move hirzontal POS
SB | Jemima | Hungerford | 2022-09-06 | 12:00 | N/A | 0.46 | 14:15 | N/A | N/A | No | No | No | No | No | No | no | 14:30 | yes | yes | yes | N/A | N/A | Deployed S:can 13230223 formerly potash brook with Hungerford RP S:can point and inserts from Hungerford S:can
SB | Jemima | Hungerford | 2022-08-31 | 11:00 | Sunny Breezy | 0.6 | 14:45 | 13:45 | 14:45 | yes | Yes | yes | yes | yes | yes | yes | 14:30 | yes | yes | yes | N/A | N/A | Pulled S:can, deep pitting under rocksack, water is up and brown
SB | Jemima | Wade | 2022-08-31 | 16:00 | Sunny Breezy | 0.36 | 17:00 | 17:05 | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 17:15 | yes | yes | yes | N/A | N/A | Put aluminum foil around exposed cables to protect against beaver attacks
SB | Jemima | Wade | 2022-08-17 | 15:00 | Overcast | 0.35 | 16:00 | N/A | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 16:45 | yes | yes | yes | 16:30 | 0.0384 | Water v low and clear
SB | Jemima | Wade | 2022-06-08 | 14:00 | Sunny ~60 F | 0.41 | 15:45 | N/A | N/A | yes | yes | yes | no | yes | yes | yes | 15:45 | yes | yes | yes | 14:00 | 0.199 | Yellow jacket nest in rain gauge, destroyed and hole was blocked, removed screws from sensor housing.
SB | Jemima | Potash | 2022-08-29 | 13:00 | Sunny, Humid, very warm | 0.38 | 14:45 | 13:50 | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 14:15 | yes | yes | yes | N/A | N/A | Water low and clear, cleaned inside S:can housing and under rock sack
SB | Jemima | Hungerford | 2022-10-28 | 13:00 | sunny, cool | 0.53 | 14:15 | N/A | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 14:15 | yes | yes | yes | N/A | N/A | Swapped out charge controller, old unit was very warm there might be an issue with it causing battery drain. Leaves completely down
SB | Jemima | Hungerford | 2022-11-07 | 15:45 | 50% clouds | 0.79 | 15:45 | N/A | N/A | No | No | Yes | No | No | No | No | 16:00 | yes | yes | yes | N/A | N/A | River up and Brown, too high to service sensors, downloaded S:Can and water sample
MT SB | Jemima | Hungerford | 2022-11-21 | 13:45 | cold, cloudy, windy | 0.55 | 14:00 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 14:15 | yes | yes | yes | N/A | N/A
MT SB | Jemima | Hungerford | 2022-12-07 | 14:00 | Cloudy, then very rainy | 0.72 | 15:00 | N/A | N/A | yes | yes | yes | yes | yes | yes | no | N/A | No | No | No | N/A | N/A | Ran out of time, got dark for downloading Rain hobo and taking water samples
SB | Jemima | Wade | 2022-10-24 | 11:30 | N/A | 0.41 | 12:45 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 13:45 | yes | yes | yes | N/A | N/A | Sensors and housings were moved ~2m downstream and totated 180 degrees, need to replace beaver proofing on cables (aluminum foil)
SB | Jemima | Wade | 2022-11-10 | 10:30 | Overcast, warm (60 F) | 0.44 | 11:30 | N/A | N/A | yes | yes | yes | no | yes | yes | yes | 11:45 | yes | yes | yes | N/A | N/A
MT SB | Jemima | Wade | 2022-12-07 | 10:00 | overcast, 45 F, drizzling | 0.7 | 11:30 | 12:20 | 13:00 | Replaced | yes | yes | yes | yes | yes | yes | 12:00 | yes | yes | yes | 12:30 | 2.88 | Swapped out EXO for new one (pH sensor on old one has drifted to 13 + needs service) Fixed wall chain to be more secure.
MT SB | Jemima | Wade | 2022-11-21 | 11:30 | Cloudy, cold | 0.44 | 12:30 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 12:30 | yes | yes | yes | N/A | N/A
SB | Jemima | Wade | 2022-09-27 | N/A | N/A | 0.45 | 16:00 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | N/A | N/A | N/A | N/A | N/A | N/A | Swapped pH sensor
MT SV | Hugo | Hungerford | 2022-01-26 | 13:50 | sunny, cold (1 C) | 0.94 | 14:00 | 14:18 | 14:35 | no | no | yes | no | no | no | no | 14:20 | yes | yes | yes | N/A | N/A | Battery changed at 14:14-14:35, logger off, 14:40 all power back on
SV | Hugo | Wade | 2022-01-26 | 11:35 | Snowy, sunny, -1 F | 0.84 | 12:30 | 11:37 | 12:20 | yes | yes | yes | yes | yes | no | yes | 11:40 | yes | yes | yes | N/A | N/A | Precip logger battery has (unreadable) change next time?
SB | N/A | Wade | 2022-01-20 | 11:15 | Sunny, cold | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 11:45 | yes | yes | yes | N/A | N/A | Cleaned off solar panels and took grab sample.
SB | Jemima | Wade | 2022-01-14 | 11:30 | 50% cloud 20 F | N/A | N/A | N/A | N/A | N/A | N/A | yes | N/A | N/A | N/A | yes | 12:00 | yes | yes | yes | N/A | N/A | Stream almost completely frozen over
SB | N/A | Hungerford | 2022-01-20 | 12:45 | Sunny, cold | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Solar panels cleared, batteries recovered to 12.4 V
MT | Hugo | Wade | 2022-01-03 | 12:30 | Sunny, cold | 0.66 | 12:40 | N/A | N/A | no | no | yes | no | no | no | no | N/A | N/A | N/A | N/A | N/A | N/A | Cleared solar panels and downloaded S:can
MT | Hugo | Hungerford | 2022-01-03 | 14:10 | Sunny, cold, 7 F | 0.78 | 14:15 | N/A | N/A | no | no | yes | no | no | no | no | N/A | N/A | N/A | N/A | N/A | N/A | Cleared solar panels and downloaded S:can
MT | Hugo | Hungerford | 2022-02-08 | 10:40 | cloudy, cold (~20 F) | N/A | N/A | 10:40 | 10:50 | no | no | yes | no | no | no | no | 10:45 | yes | yes | yes | N/A | N/A
MT | Hugo | Wade | 2022-02-08 | 12:30 | cloudy, light snow/flurries ~30 F | N/A | N/A | N/A | N/A | no | no | yes | no | no | no | no | 12:45 | yes | yes | yes | N/A | N/A
SB | Jemima | Potash | 2022-08-03 | 11:30 | Sunny, Warm | 0.4 | 13:45 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 13:30 | yes | yes | yes | N/A | N/A | Logged with exo HH and weedwacked around sensor installation and logger box
SB | Jemima | Hungerford | 2022-06-29 | 13:30 | Sunny, warm | N/A | 15:00 | N/A | N/A | yes | yes | no | no | yes | yes | yes | 15:00 | yes | yes | yes | N/A | N/A | S:can still has no option to download data, waiting on tech support for answers.
SB | Jemima | Potash | 2022-06-21 | 11:15 | N/A | 0.39 | 12:30 | N/A | N/A | yes | yes | yes | no | yes | yes | yes | 12:15 | yes | yes | yes | N/A | N/A
SB | Jemima | Wade | 2022-06-23 | N/A | N/A | 0.4 | 16:00 | N/A | N/A | yes | yes | yes | no | yes | yes | yes | 16:00 | yes | yes | yes | N/A | N/A
SB | N/A | Hungerford | 2022-06-24 | N/A | N/A | 0.65 | 14:30 | N/A | N/A | no | no | no | no | no | no | no | 16:30 | yes | yes | yes | N/A | N/A | S:can will not transfer data, waiting for tech support follow up.
SB | Jemima | Wade | 2022-06-29 | N/A | N/A | 0.4 | N/A | N/A | N/A | no | no | yes | no | no | no | no | N/A | N/A | N/A | N/A | N/A | N/A
SB | Jemima Exo HH | Wade | 2022-08-01 | 15:00 | Sunny Warm | 0.35 | 16:00 | 15:50 | 16:25 | yes | yes | yes | yes | yes | yes | yes | 16:00 | yes | yes | yes | 16:00 | 0.045 | logged w exo hand held pH and ODO are within 10%
SB | Jemima | Hungerford | 2022-08-01 | 11:30 | Sunny warm | 0.4 | 13:45 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 14:00 | yes | yes | yes | N/A | N/A | Swapped out S:can for 14350419 which seems to be fully functioning
SB | Jemima | Hungerford | 2022-03-30 | N/A | N/A | N/A | N/A | N/A | N/A | no | yes | yes | no | no | no | no | 11:30 | yes | yes | yes | N/A | N/A | cleaned sediment out of S:can and replaced wiper blades
SB | Jemima | Hungerford | 2022-12-20 | 10:50 | overcast, ~0 C | N/A | N/A | N/A | N/A | no | no | yes | no | no | no | no | N/A | N/A | N/A | N/A | N/A | N/A | Changed S:can poit on S-can to hungerford RP. Noticed turbidity is high, took multiple manual readings and turbidity was progressively lower with each reading, but still high….

## 21
Initials | Computer Used | Site | Date | Time Arrival EST | Weather | Staff Gage Height (m) | Staff Gage Time | Exo- Prodo/ Proplus Logging Start | End | Clean EXO | Clean S:Can | Download S:can | Download Exo | Download ATM hobo | Download Water hobo | Download Rain hobo | Water Sampling Time | TN/TP (unfiltered) | Dissolved (PES) | DOC (GF/F) | Flow Tracker Time | Discharge (m3/s) | Notes
SB MT | Jemima | Wade | 2021-12-07 | 16:00 | 20s F overcast | 0.55 | 16:10 | N/A | N/A | no | no | no | no | no | no | no | 16:15 | yes | yes | yes | N/A | N/A
SB MT | Jemima | Hungerford | 2021-12-15 | 13:45 | Overcast, just above 32 F | 0.55 | 15:00 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 13:45 | yes | yes | yes | N/A | N/A | All times in EST, swapped oct exo odo and pH sensors for freshly calid sensors
SB | Jemima | Potash | 2021-12-16 | 12:00 | N/A | 0.5 | 13:45 | 12:33 | N/A | no | no | no | no | no | no | no | 12:45 | yes | yes | yes | N/A | N/A | Pulling EXO, S:can, and HOBOs for winter at 13:00, Hobos at 13:45
SB | Jemima | Wade | 2021-12-17 | 13:00 | Overcast, ~40 F | 0.55 | 14:00 | N/A | N/A | no | no | yes | no | yes | yes | yes | N/A | N/A | N/A | N/A | N/A | N/A
MT SB | Jemima | Hungerford | 2021-10-14 | 10:40 | Overcast | 0.38 | 11:33 | N/A | N/A | yes | yes | yes | yes | no | no | no | 11:40 | yes | yes | yes | N/A | N/A
MT SB | Jemima | Wade | 2021-10-14 | 13:30 | 50% leaves down, overcast, sprinkle rain | 0.4 | 14:00 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | N/A | yes | yes | yes | N/A | N/A
SB | N/A | Hungerford | 2021-12-07 | 12:45 | overcast, cold (25 F) | 0.75 | 13:00 | N/A | N/A | no | no | yes | yes | no | no | no | 13:15 | yes | yes | yes | N/A | N/A | water flowing faster than is advisable to check sensors, no ice yet
MT SB | Hugo | Hungerford | 2021-11-22 | 11:20 | Cold, mostly overcast | 0.55 | 14:00 | N/A | N/A | Yes | Yes | Yes | No | Yes | Yes | Yes | 14:15 | yes | yes | yes | N/A | N/A | Put new metal cases on sensors, changed rain gauge hobo battery
MT SB | Hugo | Wade | 2021-11-22 | 15:37 | overcast, cold, light snow | 0.5 | 15:45 | N/A | N/A | No | No | yes | yes | yes | yes | yes | 16:30 | yes | yes | yes | N/A | N/A | Put metal cases on sensors in stream, changed precip gauge hobo batteries
SB | Jemima | Wade | 2021-11-12 | 7:30 | Windy | 0.4 | 8:30 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 8:30 | yes | yes | yes | N/A | N/A | Tubes packed w leaves
SB | Jemima | Hungerford | 2021-11-11 | 15:00 | N/A | 0.45 | 16:00 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 16:00 | yes | yes | yes | N/A | N/A | All times EST
MT SV | Hugo | Hungerford | 2021-09-29 | 12:40 | Sunny | 0.37 | 13:00 | N/A | N/A | yes | yes | yes | no | yes | yes | yes | 13:30 | yes | yes | yes | N/A | N/A
MT SV | Hugo | Wade | 2021-09-29 | 10:15 | Sunny, cooler | 0.36 | 10:25 | N/A | N/A | yes | yes | yes | no | yes | yes | yes | 11:05 | yes | yes | yes | N/A | N/A
SB | Jemima | Hungerford | 2021-04-20 | 14:30 | Cool, overcast | 0.57 | 15:30 | N/A | N/A | yes | yes | yes | yes | no | no | no | 15:15 | yes | yes | yes | N/A | N/A | Power off logger: 14:48, on 15:10
SB | Jemima | Potash | 2021-04-20 | 12:15 | overcast | 0.46 | 13:15 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 13:00 | yes | yes | yes | N/A | N/A | Deployed rain hobo w new battery
SB | Jemima | Wade | 2021-04-21 | 14:00 | snowing, ~32 F | 0.47 | 14:30 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 15:00 | N/A | N/A | N/A | N/A | N/A | change rain gauge next visit, no leaves
SB | Jemima | Hungerford | 2021-05-03 | 11:30 | Overcast, cool | 0.63 | 12:30 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 12:15 | yes | yes | yes | N/A | N/A | Water hobo battery died? Can't communicate w logger, replaced w spare
SB | Jemima | Wade | 2021-05-03 | 9:30 | overcast, cool, rain 2 days ago | 0.51 | 10:00 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 10:15 | yes | yes | yes | N/A | N/A | v small laves on cherries, nothing else open
SB | Jemima | Hungerford | 2021-05-20 | 14:00 | sunny, warm | 0.45 | 15:00 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | N/A | N/A | N/A | N/A | N/A | N/A | leaves all out, water is pretty clear
SB | Jemima | Potash | 2021-05-20 | 12:00 | Sunny, warm | 0.39 | 13:10 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 13:00 | Yes | yes | yes | N/A | N/A | Water v low, moss stuff all over rocks (brush algae?) leaves 95% out (ash just leafing out) swapped out Dup turbid sensor and deployed fidom (exo)
SB | Jemima | Wade | 2021-05-21 | 10:15 | Sunny, warm | 0.4 | 10:40 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | leaves 90% out
SB | Jemima | Hungerford | 2021-06-01 | 12:00 | Sunny, rain yesterday | 0.42 | 12:45 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 12:45 | yes | yes | yes | N/A | N/A
SB | Jemima | Wade | 2021-06-01 | 13:45 | Sunny, breezy | 0.39 | 14:30 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 14:30 | yes | yes | yes | N/A | N/A
SB | Jemima | Potash | 2021-06-02 | 12:30 | Sunny, warm | N/A | N/A | N/A | N/A | yes | yes | yes | yes | yes | no | no | 13:45 | yes | yes | yes | N/A | N/A
SB | Jemima | Wade | 2021-06-14 | 10:30 | overcast, breezy showers | 0.35 | 11:30 | 11:15 | N/A | yes | yes | yes | yes | yes | yes | yes | 11:45 | yes | yes | yes | N/A | N/A | Proplus only had odo (battery dead) swaped out wiper on exo bc it was showing a poor qc score…
SB | Jemima | Hungerford | 2021-06-30 | 13:00 | overcast, warm, humid | 0.38 | 13:30 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 13:45 | yes | yes | yes | N/A | N/A
SB | Jemima | Wade | 2021-06-30 | 10:15 | warm, light rain showers | 0.32 | 11:00 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 11:00 | yes | yes | yes | N/A | N/A | ATM hobo had a mason bee nest in pressure orifice, removed nest- flushed w DI and placed S:can, cleaning brush inside to discourage
SB | Jemima | Potash | 2021-01-01 | 11:30 | overcast, warm | 0.42 | 13:00 | 13:55 | N/A | yes | yes | yes | no | yes | yes | yes | 14:00 | yes | yes | yes | N/A | N/A | Replaced broken stilling well/ pvc pipe for water level logger
SB | Jemima | Wade | 2021-07-14 | 14:00 | Overcast, humid | 0.32 | 14:30 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 14:45 | yes | yes | yes | N/A | N/A | dead mudpuppy in stream- (most likely larval spring salamander)
SB | Jemima | Hungerford | 2021-07-16 | 11:15 | Overcast | 0.36 | 11:50 | 12:00 | N/A | Yes | yes | yes | yes | no | yes | no | 12:00 | yes | yes | yes | N/A | N/A
SB | Jemima | Potash | 2021-07-16 | 13:00 | 50% clouds, warm, humid | 0.4 | 14:10 | N/A | N/A | yes | yes | yes | no | yes | yes | yes | 14:00 | yes | yes | yes | N/A | N/A
SB | Jemima | Hungerford | 2021-07-28 | 12:00 | sunny, 75 F, light breeze | 0.37 | 13:45 | N/A | N/A | yes | yes | yes | yes | no | yes | no | 13:45 | yes | yes | yes | N/A | N/A | Yellow jacket nest still near gauge house, sprayed whole can of wasp killer into holes, but probably didn't get whole nest. Water very hazy/ turbid
SB | Jemima | Wade | 2021-07-28 | 15:00 | Sunny, 70 F light breeze | 0.34 | 15:30 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 15:45 | yes | yes | yes | N/A | N/A | water v low, lots of silt/ flock on rocks and cement of culvert
SB | Jemima | Potash | 2021-07-29 | 12:00 | overcast, light rain | 0.37 | 13:20 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 13:00 | yes | yes | yes | N/A | N/A | Weed wacked around sensor/ logger installation cleared path to staff gauge
SB MT | Jemima | Potash | 2021-08-11 | 11:00 | Sunny (50%) very humid | 0.45 | 12:00 | 11:50 | 12:00 | yes | yes | yes | yes | yes | yes | yes | 12:00 | yes | yes | yes | N/A | N/A
SB | Jemima | Wade | 2021-08-12 | 10:15 | warm, 75% clouds, humid | 0.35 | 11:00 | 11:26 | N/A | yes | yes | yes | no | yes | yes | yes | 11:45 | yes | yes | yes | N/A | N/A
SB MT | Jemima | Hungerford | 2021-08-12 | 13:45 | overcast, warm, humid | 0.38 | 14:20 | N/A | 14:38 | yes | yes | yes | yes | yes | yes | yes | 14:36 | yes | yes | yes | N/A | N/A | Water hobo read as bad. Data were downloaded and swapped in a spare HOBO that deployed
SB MT | Jemima | Hungerford | 2021-08-31 | 11:00 | 75% cloud cover/ part sun | 0.38 | 11:40 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 12:00 | yes | yes | yes | N/A | N/A
SB MT | Jemima | Wade | 2021-08-31 | 13:20 | Sunny, 10% cloud | 0.34 | 14:10 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 14:45 | yes | yes | yes | N/A | N/A
SB MT | Jemima | Potash | 2021-09-02 | 10:30 | partly cloudy 50% | 0.38 | 11:30 | 11:00 | N/A | yes | yes | yes | no | yes | yes | yes | 11:15 | yes | yes | yes | N/A | N/A | Hobo shuttle broke, rain gauge not downloaded
SB | Jemima | Wade | 2021-09-16 | 11:00 | Sunny, cool | 0.38 | 11:30 | N/A | 12:42 | yes | yes | yes | yes | no | yes | yes | 12:30 | yes | yes | yes | N/A | N/A | ATM hobo had error, no data collected since 8/31/21
MT SB | Jemima | Hungerford | 2021-09-16 | 14:15 | 20% cloudy and sunny/ warm | 0.36 | 14:42 | 14:45 | N/A | yes | yes | yes | yes | yes | yes | No | 15:00 | yes | yes | yes | N/A | N/A | ATM hobo and Rain hobo could not be relanned bc shuttle caught fire, rain could not be downloaded for same reason, but ATM and readout rain w Hugo on 9/21/21
MT SB | Hugo, Jemima | Potash | 2021-09-21 | 12:00 | Sunny, breezy | 0.38 | N/A | 13:30 | 13:40 | yes | yes | yes | yes | yes | yes | no | 13:30 | yes | yes | yes | N/A | N/A | Pro odo not working, seems to be internal. Has fresh batteries, hobos read out w Jemima

## 20
Initials | Computer Used | Site | Date | Time Arrival | Weather | Staff Gage Height (m) | Staff Gage Time | Exo- Prodo/ Proplus Logging Start | End | Clean EXO | Clean S:Can | Download S-can | Download Exo | Download ATM hobo | Download Water hobo | Download Rain hobo | Water Sampling Time | TN/TP (unfiltered) | Dissolved (PES) | DOC (GF/F) | Flow Tracker Time | Discharge (m3/s) | Notes
SB | Jemima | Potash | 2020-08-30 | 12:45 | Overcast/breezy | N/A | N/A | N/A | N/A | N/A | yes | N/A | N/A | N/A | N/A | N/A | 14:15 | N/A | N/A | N/A | N/A | N/A | S:can was persistently high even after cleaning, window fouled swapped s:can & wiper
SB | Jemima | potash | 2020-09-01 | 12:30 | N/A | 0.38 | 14:45 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 13:30 | probably? | probably? | probably? | N/A | 0.0391 | Lots of missing info, I think this was Saul? - JD
SB | Jemima | Hungerford | 2020-09-01 | 15:30 | N/A | 0.38 | 16:00 | 16:22 | 16:30 | yes | yes | yes | yes | no | yes | no | N/A | N/A | N/A | N/A | N/A | N/A | Lots of missing info, I think this was Saul? - JD
SB | Jemima | Potash | 2020-12-18 | 11:30 | Cold (13 F) | 0.43 | 13:00 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 12:00 | yes | yes | yes | N/A | N/A | Pulled S:can connectbox, exo and Hobos did not read out hobos in field. Hobo PVC pipe for water level is broken, replace in spring
SB | Jemima | Potash | 2020-11-25 | 11:15 | Overcast, 32 F | 0.43 | 13:00 | 12:15 | 1:00 | yes | yes | yes | yes | yes | yes | no | 13:30 | yes | yes | yes | N/A | N/A | All times in EST (except for water sampling time?) water is turbid and slightly milky.
SB | Jemima | Potash | 2020-10-27 | 10:45 | overcast, cool | 0.43 | 12:10 | 11:48 | 11:55 | yes | yes | yes | yes | no | no | no | 11:45 | yes | yes | yes | 12:45 | 0.05 | leaves 75-80% down
SB | Jemima | Potash | 2020-10-13 | 11:45 | Raining | 0.46 | 13:30 | N/A | N/A | yes | yes | yes | yes | no | no | no | 12:45 | yes | yes | yes | 13:15 | 0.103
SB | Jemima | Potash | 2020-09-17 | 12:00 | N/A | 0.36 | 13:00 | 12:32 | 12:55 | yes | yes | yes | yes | yes | yes | yes | 12:45 | yes | yes | yes | 12:45 | 0.0147 | Cal exo wiper (was over coud sensor) very low flow (I'm just writing directly from what I could read on this, some of it is just like I can't read the handwriting -JD)
SB | Jemima | Potash | 2020-09-01 | 12:30 | N/A | 0.38 | 14:15 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 13:30 | yes | yes | yes | 14:15 | 0.0391
SB | Jemima | Potash | 2020-07-14 | 10:00 | Overcast,sprinkles | 0.35 | 11:15 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 10:45 | yes | yes | yes | N/A | N/A
SB RD | Jemima | Potash | 2020-06-30 | 10:41 | Sunny | 0.39 | 11:40 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 11:15 | yes | yes | yes | 12:20 | 0.0453 | Prodo battery malfunctioned
SB | Jemima | Potash | 2020-06-16 | 11:30 | Sunny, 70-80 F | 0.35 | 13:15 | 12:24 | 12:32 | yes | yes | yes | yes | yes | yes | yes | 12:30 | yes | yes | yes | 13:15 | 0.0236
SB | Jemima | Potash | 2020-05-28 | 12:30 | Overcast+sun, breezy, 80 F | N/A | N/A | N/A | N/A | yes | yes | yes | yes | no | no | no | N/A | N/A | N/A | N/A | N/A | N/A
SB | Jemima | Potash | 2020-05-12 | 11:15 | suny, cool | 0.66 | 12:45 | 12:10 | 12:24 | yes | yes | yes | yes | yes | yes | no | 12:15 | yes | yes | yes | 13:20 | 0.3336
SB | Jemima | Hungerford | 2020-12-15 | 14:00 | cold, sunny | 0.47 | 14:30 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 14:15 | yes | No | No | N/A | N/A | Pulled exo, S:can, and hobos
SB | Jemima | Hungerford | 2020-11-24 | 13:00 | N/A | 0.56 | 14:15 | 14:05 | N/A | yes | yes | yes | yes | no | no | no | 14:15 | yes | yes | yes | N/A | N/A
SB | Jemima | Hungerford | 2020-11-12 | 15:15 | overcast, cool | 0.42 | 16:00 | 16:00 | N/A | yes | yes | yes | yes | yes | yes | yes | N/A | yes | yes | yes | N/A | N/A
SB | Jemima | Hungerford | 2020-10-27 | 15:00 | Overcast, cool | 0.45 | 15:35 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 15:15 | yes | yes | yes | N/A | N/A
SB | Jemima | Hungerford | 2020-10-15 | 11:00 | overcast, windy | 0.4 | 12:20 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 12:30 | yes | yes | yes | N/A | N/A | Water very clear, deployed new wiper for S:can
SB | Jemima | Hungerford | 2020-10-01 | 15:30 | Cool, clear | 0.46 | 16:00 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 16:30 | yes | yes | yes | N/A | N/A | Wiper on S:Can seems to be having issues or was stuck on something. Was working when redeployed, should probably swap out, losts of leaves in sensor housings.
SB | Jemima | Hungerford | 2020-09-17 | 14:45 | N/A | 0.38 | 16:30 | N/A | N/A | no | yes | no | no | no | no | no | 16:30 | yes | yes | yes | N/A | N/A | Replaced S:can wiper
SB | Jemima | Hungerford | 2020-09-10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Showed up to see why S:can was reading turbidity at 1000+, wiper was broken, removed- replace next week (see visit on 9/17/20)
SB | Jemima | Hungerford | 2020-09-01 | 15:30 | N/A | 0.38 | 16:00 | 16:22 | N/A | yes | yes | yes | yes | yes | yes | yes | 16:30 | yes | yes | yes | N/A | N/A | Cal wiper pos on exo
SB | Jemima | Hungerford | 2020-08-18 | 12:00 | Sunny, 75 F | 0.38 | 13:15 | 13:27 | N/A | yes | yes | yes | yes | yes | yes | yes | 13:30 | yes | yes | yes | N/A | N/A | Updated Program for 20 exo params
SB | Jemima | Hungerford | 2020-07-13 | 13:45 | Overcast, clodudy 75-80 F | 0.38 | 14:45 | N/A | N/A | yes | yes | yes | yes | no | yes | no | 15:00 | Probably? | Probably? | Probably? | N/A | N/A
SB | Jemima+ Natalie | Hungerford | 2020-06-30 | ~14:30 | N/A | 0.39 | 14:45 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 15:00 | yes | yes | yes | N/A | N/A | Replaced Battery in Rain hobo. Time arrive was estimated off of power off logger time -JD
SB | Jemima | Hungerford | 2020-06-16 | 14:00 | Sunny, 80 F | 0.39 | 14:48 | 14:56 | 15:02 | yes | yes | yes | yes | no | yes | no | 15:00 | Yes | Yes | Yes | N/A | N/A
SB | Jemima | Hungerford | 2020-05-26 | 11:00 | Sunny, warm | 0.41 | 11:56 | 12:22 | 12:38 | yes | yes | yes | no | no | no | no | 12:30 | yes | yes | yes | N/A | N/A
SB | Jemima | Hungerford | 2020-05-14 | 12:30 | Sunny, 60 F | 0.45 | 13:45 | 13:44 | 13:50 | yes | yes | yes | yes | yes | yes | no | N/A | yes | no | no | N/A | N/A | 13:35 changed program back to 15 min sampling intervals for S;can. Lots of algae in long strands covering stream bottom, small poplar leaves still almost no leaves
SB | Jemima | Hungerford | 2020-05-05 | 13:45 | N/A | 0.46 | 14:00 | Ran but no times given | N/A | yes | yes | yes | yes | yes | yes | yes | 14:45 | yes | yes | yes | N/A | N/A | Replaced rain gauge battery, small cherry and poplar leaves, basswood buds are turning green and starting to open, TSS samples also taken
SB | Natalie | Hungerford | 2020-03-28 | 12:00 | Overcast | 0.56 | 13:45 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 14:00 | yes | yes | yes | N/A | N/A | Deployed site all hobos + sensors, EXO SN 14A100677, TSS sample was also taken.
SB | Jemima | Wade | 2020-12-14 | 12:00 | Overcast ~freezing | 0.5 | 12:25 | 12:15 | 12:15 | no | no | no | no | yes | yes | yes | 12:15 | yes | yes | yes | N/A | N/A | Pulling stream sensors and hobos
SB | Jemima | Wade | 2020-11-23 | 14:00 | N/A | 0.56 | 14:15 | N/A | N/A | no | no | yes | no | no | no | no | 14:15 | yes | yes | yes | N/A | N/A
SB | Jemima | Wade | 2020-11-20 | 13:45 | N/A | 0.47 | 14:30 | N/A | N/A | no | no | yes | no | no | no | no | N/A | N/A | N/A | N/A | N/A | N/A | S:can reading every minute, swapped out battery for new V13 and 12.4, waiting on relay parts
SB | Jemima | Wade | 2020-11-11 | 13:15 | Overcast, warm | 0.42 | 13:45 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 14:45 | yes | yes | yes | N/A | N/A | All times in EST, Noticed that S:can switch was not getting enough power to shut off reading continously
SB | Jemima | Wade | 2020-10-30 | 13:15 | 50% sun, cold | 0.45 | 14:00 | 14:05 | 14:18 | yes | yes | yes | yes | yes | yes | yes | 14:15 | yes | yes | yes | N/A | N/A | Leaves 100% down
SB | Jemima | Wade | 2020-10-16 | 12:50 | N/A | 0.58 | 13:32 | 13:50 | N/A | yes | yes | yes | no | yes | yes | yes | 14:00 | yes | yes | yes | N/A | N/A | Water tea colored, lots of leaves, 75% down
SB | Jemima | Wade | 2020-09-29 | 10:20 | Warm, part clouds | 0.35 | 11:00 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 11:30 | yes | yes | yes | N/A | N/A | Added 2nd solar panel to help keep battery charged through the fall, leaves 1/4 down, very low flow water around sensors almost still
SB | Jemima | Wade | 2020-09-16 | 14:00 | Overcast, 60-70 F | 0.34 | 15:00 | 14:57 | 15:09 | yes | yes | yes | yes | yes | yes | yes | N/A | N/A | N/A | N/A | N/A | 0.0474
SB | Jemima | Wade | 2020-09-04 | 14:00 | Overcast, cool, breezy | 0.36 | 14:15 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
SB | Jemima | Wade | 2020-08-18 | 14:45 | overcast | 0.38 | 15:45 | 15:40 | N/A | yes | yes | yes | yes | yes | yes | yes | 15:45 | yes | yes | yes | N/A | N/A | Updated program on logger for more prams w/ names
SB | Jemima | Wade | 2020-08-05 | 14:30 | 50% clouds, breezy, 70 F | 0.57 | 15:00 | N/A | N/A | yes | yes | yes | yes | yes | yes | yes | 15:15 | yes | yes | yes | 15:50 | 1.4016 | Hurricane Isias moved through yesterday
SB | Jemima | Wade | 2020-07-22 | 14:00 | Overcast | 0.4 | 15:40 | N/A | N/A | no | no | no | no | yes | yes | yes | N/A | N/A | N/A | N/A | N/A | N/A | S:can dead, smells like burning in connect box 24 fuse is blown. Pulling S:can
SB | Jemima | Wade | 2020-06-25 | 11:45 | Sunny, 75 F | 0.39 | 11:45 | 12:10 | 12:20 | yes | yes | yes | yes | yes | yes | yes | 12:15 | yes | yes | yes | N/A | N/A
SB | Jemima | Wade | 2020-05-26 | 13:45 | Sunny, 85-90 F | 0.45 | 14:30 | 14:30 | N/A | yes | yes | yes | yes | yes | yes | yes | 14:45 | yes | yes | yes | N/A | N/A | TSS sample also taken. Leaves 75% out, 1st deerfly of season, dragonflies are hatching
SB | Jemima | Wade | 2020-05-14 | 15:00 | Sunny, ~50s | 0.47 | 15:15 | 15:44 | 15:48 | yes | yes | yes | yes | yes | yes | yes | 15:45 | yes | no | no | N/A | N/A | Still no leaves
SB | Jemima | Wade | 2020-05-06 | 12:00 | Overcast, 50 F | 0.45 | 13:00 | 12? | 13:00 | yes | yes | no | no | yes | yes | yes | 13:00 | yes | yes | yes | N/A | N/A | TSS sample also taken. No leaves yet, toothwart + wild leeks are up

## Lists
lists | TN/TP (unfiltered) | Dissolved (PES) | DOC (GF/F) | Metals | Download S:can | Download Exo | Download ATM hobo | Download Water hobo | Download Rain hobo
| Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
| No | No | No | No | No | No | No | No | No